FCR Capacity Market Standard Product

Unofficial translation

| Parameter | Condition |
| --- | --- |
| Mode of activation | Automatic – the reserve unit autonomously determines the quantity to be activated based on the measured frequency deviation and the accepted capacity offer. |
| Full activation time (FAT) | 30 seconds |
| Direction | Symmetric – both upward and downward |
| Validity period | 15 minutes |
| Minimum quantity | 1 MW |
| Minimum duration of delivery period | None |
| Bid granularity | 1 MW |
| Maximum quantity | 9,999 MW |
| Divisibility | Fully divisible in steps of 1 MW, fully indivisible, or partially indivisible in steps of 1 MW. |
| Volume | Unit: MW |
| Price of the bid | Unit: €/MWh |
| Availability | The FCR service must be fully available and ready for activation during the validity period of the accepted FCR offer, in at least the volume of the accepted capacity offer. The obligation to submit the FCR offer may be transferred to another prequalified Balancing Service Provider within the TSO control area, in accordance with Article 34 of the EBGL Regulation. |

| Links between bids | Linking of bids is permitted as follows: - Block bids Offers with the same volume and price across consecutive trading periods may be linked into one block bid. In such cases, either all linked bids are accepted or all are rejected. |
| --- | --- |
| Minimum duration between the end of deactivation and the following activation | None |
| Price method | Marginal pricing |